**SECTION 01015**

**CONTROL OF WORK**

#### PART 1 - GENERAL

* 1. WORK PROGRESS

#### The Contractor shall furnish personnel and equipment which will be efficient, appropriate, and large enough to secure a satisfactory quality of work and a rate of progress which will ensure the completion of the work within the time stipulated in the Proposal agreed to by Owner and Contractor. If at any time such personnel or equipment appears to the Engineer to be inefficient, inappropriate, or insufficient for securing the quality of work required for producing the rate of progress aforesaid, he may order the Contractor to increase the efficiency, change the character, or increase the personnel and equipment, and the Contractor shall conform to such order. Failure of the Engineer to give such order shall in no way relieve the Contractor of his obligations to secure the quality of the work and rate of progress required.

* 1. PRIVATE LAND

#### The Contractor shall not enter or occupy private land outside of pump station boundary, except by written permission of the Landowner. A notarized copy of the agreement to occupy such land shall be delivered to Owner prior to any on site occupation.

* 1. WORK LOCATIONS

#### Work shall be located substantially as indicated on the drawings, but the Engineer reserves the right to make such modifications in locations as may be found desirable to avoid interference with existing structures or for other reasons.

* 1. SITE CONDITIONS.

#### When access through construction areas must be disrupted, Contractor will provide alternate acceptable access for the Parish Personnel or other contractors.

* + 1. Contractor is required to coordinate delivery and storage with the Owner at the pump station site.
  1. COOPERATION WITHIN THIS CONTRACT.

#### All firms or persons authorized to perform any work under this contract shall cooperate with the General Contractor and his subcontractors or trades and shall assist in incorporating the work of other trades where necessary or required.

* + 1. Cutting and patching, drilling, and fitting shall be carried out where required by the trade or subcontractor having jurisdiction, unless otherwise indicated herein or directed by the Engineer.

#### PROTECTION OF CONSTRUCTION AND EQUIPMENT

* + 1. All newly constructed work shall be carefully protected from damage in any way. No wheeling or walking or placing of heavy loads on it shall be allowed and all portions damaged shall be refabricated or replaced by the Contractor at his own expense.

#### All structures shall be protected in a manner approved by the Engineer. If, in the final inspection of the work, any defects, faults, or omissions are found, the Contractor shall cause the same to be repaired or removed and replaced by proper materials and workmanship without extra compensation for the materials and labor required. Further, the Contractor shall be fully responsible for the satisfactory maintenance and repair of the construction and other work undertaken herein, for at least the guarantee period described in the contract.

PART 2 - PRODUCTS (NOT USED)

PART 3 - EXECUTION (NOT USED)

#### END OF SECTION